{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["评估说明","设备估价"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"评估说明","index":0,"n_rows":5,"n_cols":2,"rows_kept":5,"flags":["formulas_cached_only"]}
["废塔拆除回收专业公司电话：15198042763"]
[]
[null,"说明："]
[null,"1、本次为35KV和110KV输电线路拆除评估，收回残值。"]
[null,"2、评估按照现场线路状况，把拆除运输费用按工作量比折成拆运费率在残值中扣除。"]

{"sheet":"设备估价","index":1,"n_rows":17,"n_cols":13,"rows_kept":17,"merged":[[0,0,0,10],[1,0,1,3],[1,4,1,6],[2,0,2,5],[2,7,2,12],[3,0,4,0],[3,1,4,1],[3,2,4,2],[3,3,4,3],[3,4,4,4],[3,5,4,5],[3,6,4,6],[3,7,3,12]],"flags":["formulas_cached_only"]}
["宝兴电力有限公司35/110KV线路拆除评估明细表"]
["评估机构：四川雅洲资产评估事务所",{"$nulls":3},"                               评估基准日：2019年2月20日"]
["委托方：宝兴县电力有限公司",{"$nulls":6},"金额单位：人民币元"]
["序号","资产名称","规格型号","单位市场价","购置或安装日期","单位","数量","评估栏"]
[{"$nulls":7},"核实数量","残值率（%）","拆运费率（%）","重置单价","重置完         全价值","重估价值"]
[1,"35KV水泥杆33#、34#","JHB3-18M","2500元/根","1990.01","基",2,2,20,40,{"v":2500,"d":"2,500.00"},{"v":5000,"d":"5,000.00"},{"v":-1000,"d":"(1,000.00)"}]
[2,"35KV铁塔35#","JD3-21（8吨）","2000元/吨","1990.01","基",3,3,90,60,{"v":16000,"d":"16,000.00"},{"v":48000,"d":"48,000.00"},{"v":14400,"d":"14,400.00"}]
[3,"110KV黄水线铁塔10#、11#、12#、13#","1D2-SDJ-24（15吨钢）","2000元/吨","2018.07","基",4,4,90,60,{"v":30000,"d":"30,000.00"},{"v":120000,"d":"120,000.00"},{"v":36000,"d":"36,000.00"}]
[4,"35KV钢芯铝绞线","LGJ-95","8元/米","2018.08","千米",3.7,3.7,70,60,{"v":8000,"d":"8,000.00"},{"v":29600,"d":"29,600.00"},{"v":2960,"d":"2,960.00"}]
[5,"110KV钢芯铝绞线","LGJ-240","18元/米","2018.09","千米",5.7,5.7,70,60,{"v":18000,"d":"18,000.00"},{"v":102600,"d":"102,600.00"},{"v":10260,"d":"10,260.00"}]
[]
[]
[]
[]
[]
[]
[null,"合计",{"$nulls":9},{"v":300200,"d":"300,200.00"},{"v":62620,"d":"62,620.00"}]